1Your Name Here _______________________________

Exam I

September 18, 2000

Chemistry 310/311

| Problem | Possible Points | Your Points |
| --- | --- | --- |
| 1a | 10 |  |
| 1b | 10 |  |
| 1c | 10 |  |
| 1d | 10 |  |
| 1e | 10 |  |
| 1f | 10 |  |
| 2 | 10 |  |
| 3a | 15 |  |
| 3b | 5 |  |
| 3c | 10 |  |
| bonus | 5 |  |
| total | 100 |  |

(2)	Attached is data from an “ISE” lab for “calibration”.

|  | mV reading |
| --- | --- |
| pPb | 6 |
|  | rep 1 |
| Time (s) |  |
| 30 | 58 |
| 60 | 45 |
| 90 | 39 |
| 120 | 35 |
| 180 | 33 |
| 240 | 32 |
| 300 | 31 |
| 360 | 30 |
| 420 | 29 |
| 480 | 29 |
| 540 | 29 |

| pPb | mV |
| --- | --- |
| 6 | 29 |
| 6 | 25 |
| 6 | 26 |
| 5.5 | 23 |
| 5 | 17 |
| 4.5 | 11 |
| 4 | 5 |
| 3.5 | -1 |
| 3 | -7 |

(Questions 2a-2f each 10 points)

a)	What is the linear range of the data?

b)	What might limit the linear range of the data?

c)	What is the rise time of the measurement?

d)	What is the bandpass of the measurement?

e)	What is the limit of detection for the measurement?

f)	Draw a diagram which explains the processes which may limit the rate at which equilibration is obtained for the ISE measurement.

3.	(10 points) Given the following alpha plot for lead chlorides.      Why must we worry about this type of speciation in designing a protocol for the measurement of lead in seawater    (chloride ion concentration of sea water ~    0.55 M)?

(3)	You have two "measurement populations".    These could be children IQ scores for lead exposed and lead unexposed children.    These could be your values for a graphite furnace blank and for your lowest graphite standard.    The data are listed below.

"Blank population"				"Sample Population"

(Pb exposed Children's IQ)			(Pb free Children's IQ)

89							110

98							105

106							103

91							112

94							102

104							115

107							104

99							109

108							106

104							101

106							107

104							105

108							106

(15pts)	a)	What are the means, standard deviations, and relative standard deviations of the individual populations (column 1 and column 2) and of the combined population (both column 1 and 2)?

(5pts)	b)	What is the resolution of these populations (column 1 and column 2)?

(10ts)	e)	What is the S/N of the two populations?    How many more samples would you need to take to increase the S/N to 10?

(5 bonus points)	Give a concrete example of how to improve learning in lecture.